## INSTRUCTIONS
24sure Single Channel Planner
BEFORE USING THIS SPREAD SHEET ENSURE YOU HAVE SET UP A MULTI DATABASE AND IMPORTED THE LATEST ANNOTATION DB
This worksheet has been created to:
ensure the inclusion of the correct reference sub arrays in a batch
record the layout of samples and mastermixes in a 96 well plate or 8 well strips
record the layout of samples on slides
automatically create a batch import file for use in BlueFuse Multi v3.0 and above
You will only require one 24sure planner for each batch of experiments
This planner is only appropriate for use with 24sure slides run using the Single Channel Protocol - barcode ending in B, C, K, L or M
Two or more slides per lot are required in each batch, for efficiency use at least 3 slides per lot per batch
Yellow boxes indicate fields which must be entered
Avoid dragging and dropping text in cells, copy and paste is fine
Instructions
1) Insert samples in sheet 'insert SAMPLES' - column B= Cycle ID, column C= Embryo ID, column D= Cell type
- there are six possible entries for cell type: PB1, PB2, Blastomere, Trophectoderm, Genomic DNA, Other
| - for example: |  | Cycle ID | Embryo ID | Cell type
|  |  | Jones | 1 | PB2
2) In sheet 'insert BARCODES' insert barcodes of the slides to be used in column B, if insufficient slides have been entered you will be prompted
3) Check the summary information on this sheet to ensure the most efficient use of microarrays
- for example, > 2 slides used from each lot of slides
4) The '96 well lab plan' or '8 well strip lab plan' sheet populates automatically, print sheet to use as a plan for lab work
- Unique sample IDs fill the 96 well plate/ 8 well strips with the cy3/cy5 fluorescent label indicated
- Schematics of microarray slides indicate combinations of labelled samples and references
5) Create a batch import file for use with BlueFuse Multi
- in 'create BATCH', type in the date that samples will be analysed in BlueFuse Multi
- also input the directory path to the folder where the tiff images and the correct GAL file are located,
e.g. C:\Users\jess.massie\Desktop\Single channel test data
- ensure the correct annotation DB is written on this sheet, e.g. BG_Annotation_Ens54_20101217.db
6) Select and copy only the rows and columns containing text from 'Batch Import File' into notepad and save .txt file for batch importing references into Multi
7) Batch import, process, and view sample and reference profiles and reports in BlueFuse Multi
Document history
Date |  | Version |  | Comment
17th August 2011 |  | 1 |  | Original creation
29th May 2012 |  | 2 |  | Change in reference strategy
25th June 2013 |  | 3 |  | Addition of warning about hybridizing polar bodies/biopsies from the same embryo against each other. Include capability to recognise C barcode.
1st October 2013 |  | 3.1 |  | Included stronger warning regarding slide usage, > 2 slides per lot
17th September 2014 |  | 4 |  | Update to allow new barcode format - K, L, M barcodes
Part Number
4th March 2015 |  | 15069177 Rev.A |  | Move to Agile document control

## insert SAMPLES
| Cycle ID | Embryo ID | Cell type
1 |  |  |  | A Cycle ID, Embryo ID and Cell type must be entered for each sample. They must not be left blank.
2 |  |  |  | Cell type must be either: |  | PB1 | If this is not entered the batch import file will not work
3 | [5 empty] | PB2
4 | [5 empty] | Blastomere
5 | [5 empty] | Trophectoderm
6 | [5 empty] | Genomic DNA
7 | [5 empty] | Other
8 |  |  |  | Do not hybridize polar bodies or biopsies from the same embryo against each other, avoid listing one after the other here
9
10 |  |  |  |  | NEXT - insert slide barcodes
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92

## insert BARCODES
| Barcode | Scan or input barcodes in column B |  | Summary information |  |  | Comments
1 |  |  |  | So far you have: |  |  | A minimum of 2 slides per lot is required
2 |  |  |  | Number of slides | 0
3 |  |  |  | Number of lots | 0
4 |  |  |  | Number of samples | 0
5 |  |  |  | Number of references | 0
6 |  |  |  | Number of sample sub arrays | 0
7 |  |  |  | Number of reference sub arrays | 0
8 |  |  |  | total sub arrays | 0
9
10 |  |  |  |  | Lot # | Slides/Lot
11
12
13 |  |  | NEXT - view and print 96 well plate lab plan
14 |  |  | OR - or 8 well strip lab plan
15 |  |  | THEN - prepare batch import file
16 |  |  | FINALLY - copy and paste batch import file
17
18
19
20
21
22
23
24
END

## LAYOUT (hidden)
Barcode | TOP Cy3 | TOP Cy5 | BOT Cy3 | BOT Cy5
end

## unique ID (hidden)
UniqueNum | UniqueID | Embryo ID | Cycle ID | Cell type

## WORKING (hidden)
Barcode | Lot | Lot instance | TOP Cy3 | TOP Cy5 | BOT Cy3 | BOT Cy5 | TOP Cy3 | TOP Cy5 | BOT Cy3 | BOT Cy5 | TOP Cy3 | TOP Cy5 | BOT Cy3 | BOT Cy5
[9 empty] | 1 | 2 | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
END

## 96 well lab plan
Labelling 96-well plate |  |  | Date | 2015-03-16 13:49 | Operator |  | Comments
Time started
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | Cy3
B | [12 empty] | Cy5
C | [12 empty] | Cy3
D | [12 empty] | Cy5
E | [12 empty] | Cy3
F | [12 empty] | Cy5
G | [12 empty] | Cy3
H | [12 empty] | Cy5
Slide layout
Labelling master mix (µl)
[10 empty] | Cy3 |  | Cy5
top | [9 empty] | X1 | X0* | X1 | X0*
[9 empty] | reaction buffer | 5 | 0 | 5 | 0
[9 empty] | dCTP lab. Mix | 5 | 0 | 5 | 0
[9 empty] | Cy3 dCTP | 1 | 0 | - | -
bottom | [8 empty] | Cy5 dCTP | - | - | 1 | 0
[9 empty] | Klenow | 1 | 0 | 1 | 0
[9 empty] | total | 12 | 0 | 12 | 0
barcode | [9 empty] | *inc. 5% excess
top
bottom
barcode
top
bottom
barcode
top
bottom
barcode
top
bottom
barcode
top
bottom
barcode

## Batch file entries (hidden)
SAMPLEID | SAMPLEFILE | BARCODE | NANODROPFILE | EXPTYPE | DESCRIPTION | SAMPLECH | Ref ID | Samp ID |  | Cell type
#N/A |  | #N/A |  | #N/A | #N/A | #N/A | 1 |  |  | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 1 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 2 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 3 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 4 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 5 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 6 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 7 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 8 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 9 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 10 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 11 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 12 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 13 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 14 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 15 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 16 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 17 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 18 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 19 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 20 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 21 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 22 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 23 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 24 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 25 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 26 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 27 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 28 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 29 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 30 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 31 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 32 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 33 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 34 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 35 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 36 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 37 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 38 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 39 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 40 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 41 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 42 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 43 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 44 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 45 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 46 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 47 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 48 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 49 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 50 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 51 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 52 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 53 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 54 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 55 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 56 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 57 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 58 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 59 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 60 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 61 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 62 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 63 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 64 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 65 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 66 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 67 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 68 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 69 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 70 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 71 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 72 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 73 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 74 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 75 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 76 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 77 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 78 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 79 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 80 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 81 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 82 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 83 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 84 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 85 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 86 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 87 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 88 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 89 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 90 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 91 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 92 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 93 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 94 | #N/A | #N/A
#N/A |  | #N/A |  | #N/A | #N/A | #N/A |  | 95 | #N/A | #N/A

## Convert 4 col to 1 col (hidden)
Row | Col | really unique | Unique ID | Sample ID | Dye | Patient ID | Barcode | Lot | Type | Subarray | Alg type | Alg text | Ref num | Samp num |  |  | Cell type
1 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top | 1 |  | #N/A |  | #N/A
1 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 1 | #N/A | #N/A | #N/A
1 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 2 | #N/A | #N/A | #N/A
1 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 3 | #N/A | #N/A | #N/A
2 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 4 | #N/A | #N/A | #N/A
2 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 5 | #N/A | #N/A | #N/A
2 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 6 | #N/A | #N/A | #N/A
2 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 7 | #N/A | #N/A | #N/A
3 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 8 | #N/A | #N/A | #N/A
3 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 9 | #N/A | #N/A | #N/A
3 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 10 | #N/A | #N/A | #N/A
3 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 11 | #N/A | #N/A | #N/A
4 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 12 | #N/A | #N/A | #N/A
4 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 13 | #N/A | #N/A | #N/A
4 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 14 | #N/A | #N/A | #N/A
4 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 15 | #N/A | #N/A | #N/A
5 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 16 | #N/A | #N/A | #N/A
5 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 17 | #N/A | #N/A | #N/A
5 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 18 | #N/A | #N/A | #N/A
5 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 19 | #N/A | #N/A | #N/A
6 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 20 | #N/A | #N/A | #N/A
6 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 21 | #N/A | #N/A | #N/A
6 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 22 | #N/A | #N/A | #N/A
6 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 23 | #N/A | #N/A | #N/A
7 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 24 | #N/A | #N/A | #N/A
7 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 25 | #N/A | #N/A | #N/A
7 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 26 | #N/A | #N/A | #N/A
7 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 27 | #N/A | #N/A | #N/A
8 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 28 | #N/A | #N/A | #N/A
8 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 29 | #N/A | #N/A | #N/A
8 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 30 | #N/A | #N/A | #N/A
8 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 31 | #N/A | #N/A | #N/A
9 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 32 | #N/A | #N/A | #N/A
9 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 33 | #N/A | #N/A | #N/A
9 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 34 | #N/A | #N/A | #N/A
9 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 35 | #N/A | #N/A | #N/A
10 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 36 | #N/A | #N/A | #N/A
10 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 37 | #N/A | #N/A | #N/A
10 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 38 | #N/A | #N/A | #N/A
10 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 39 | #N/A | #N/A | #N/A
11 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 40 | #N/A | #N/A | #N/A
11 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 41 | #N/A | #N/A | #N/A
11 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 42 | #N/A | #N/A | #N/A
11 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 43 | #N/A | #N/A | #N/A
12 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 44 | #N/A | #N/A | #N/A
12 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 45 | #N/A | #N/A | #N/A
12 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 46 | #N/A | #N/A | #N/A
12 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 47 | #N/A | #N/A | #N/A
13 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 48 | #N/A | #N/A | #N/A
13 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 49 | #N/A | #N/A | #N/A
13 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 50 | #N/A | #N/A | #N/A
13 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 51 | #N/A | #N/A | #N/A
14 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 52 | #N/A | #N/A | #N/A
14 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 53 | #N/A | #N/A | #N/A
14 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 54 | #N/A | #N/A | #N/A
14 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 55 | #N/A | #N/A | #N/A
15 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 56 | #N/A | #N/A | #N/A
15 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 57 | #N/A | #N/A | #N/A
15 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 58 | #N/A | #N/A | #N/A
15 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 59 | #N/A | #N/A | #N/A
16 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 60 | #N/A | #N/A | #N/A
16 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 61 | #N/A | #N/A | #N/A
16 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 62 | #N/A | #N/A | #N/A
16 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 63 | #N/A | #N/A | #N/A
17 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 64 | #N/A | #N/A | #N/A
17 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 65 | #N/A | #N/A | #N/A
17 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 66 | #N/A | #N/A | #N/A
17 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 67 | #N/A | #N/A | #N/A
18 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 68 | #N/A | #N/A | #N/A
18 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 69 | #N/A | #N/A | #N/A
18 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 70 | #N/A | #N/A | #N/A
18 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 71 | #N/A | #N/A | #N/A
19 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 72 | #N/A | #N/A | #N/A
19 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 73 | #N/A | #N/A | #N/A
19 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 74 | #N/A | #N/A | #N/A
19 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 75 | #N/A | #N/A | #N/A
20 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 76 | #N/A | #N/A | #N/A
20 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 77 | #N/A | #N/A | #N/A
20 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 78 | #N/A | #N/A | #N/A
20 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 79 | #N/A | #N/A | #N/A
21 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 80 | #N/A | #N/A | #N/A
21 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 81 | #N/A | #N/A | #N/A
21 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 82 | #N/A | #N/A | #N/A
21 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 83 | #N/A | #N/A | #N/A
22 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 84 | #N/A | #N/A | #N/A
22 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 85 | #N/A | #N/A | #N/A
22 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 86 | #N/A | #N/A | #N/A
22 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 87 | #N/A | #N/A | #N/A
23 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 88 | #N/A | #N/A | #N/A
23 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 89 | #N/A | #N/A | #N/A
23 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 90 | #N/A | #N/A | #N/A
23 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 91 | #N/A | #N/A | #N/A
24 | 1 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 92 | #N/A | #N/A | #N/A
24 | 2 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Top | 24sure Single Channel | 24sure Single Channel Top |  | 93 | #N/A | #N/A | #N/A
24 | 3 |  |  |  | Cy3 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 94 | #N/A | #N/A | #N/A
24 | 4 |  |  |  | Cy5 | #N/A |  | FALSE | Sample | Bottom | 24sure Single Channel | 24sure Single Channel Bottom |  | 95 | #N/A | #N/A | #N/A

## 8 well strip lab plan
Labelling 8-well strip |  |  | Date | 2015-03-16 13:49 | Operator |  | Comments
Time started
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
strip 1 | [8 empty] | Cy3
strip 2 | [8 empty] | Cy5
strip 3 | [8 empty] | Cy3
strip 4 | [8 empty] | Cy5
strip 5 | [8 empty] | Cy3
strip 6 | [8 empty] | Cy5
strip 7 | [8 empty] | Cy3
strip 8 | [8 empty] | Cy5
strip 9 | [8 empty] | Cy3
strip 10 | [8 empty] | Cy5
strip 11 | [8 empty] | Cy3
strip 12 | [8 empty] | Cy5
Slide layout
Labelling master mix (µl)
[10 empty] | Cy3 |  | Cy5
top | [9 empty] | X1 | X0* | X1 | X0*
[9 empty] | reaction buffer | 5 | 0 | 5 | 0
[9 empty] | dCTP lab. Mix | 5 | 0 | 5 | 0
[9 empty] | Cy3 dCTP | 1 | 0 | - | -
bottom | [8 empty] | Cy5 dCTP | - | - | 1 | 0
[9 empty] | Klenow | 1 | 0 | 1 | 0
[9 empty] | total | 12 | 0 | 12 | 0
barcode | [9 empty] | *inc. 5% excess
top
bottom
barcode
top
bottom
barcode
top
bottom
barcode
top
bottom
barcode
top
bottom
barcode

## create BATCH
Enter the date of BlueFuse Multi analysis, the directory where images and other files will be found and annotation DB name
User input: Date/Directory/Filename
Date of analysis - in format YYYYMMDD |  | e.g. 20120403
Batch ID (required if running more than one batch/day) |  | e.g. 1 or 2
Directory where images and gal files are stored: |  | e.g. \\oracle\data\Users\Andrew\V3_data
Annotation DB to be used for analysis |  | e.g. BG_Annotation_Ens74_20140630.db

## Reference batch (hidden)
DIRECTORY: | [8 empty] | ONLY COPY THE AREA CONTAINING TEXT FIELDS,
ANNOTATION: | [8 empty] | DO NOT COPY EMPTY LINES / COLUMNS, THIS WILL CAUSE BATCH IMPORT TO FAIL
CYCLEID | SAMPLEFILE | BARCODE | EXPTYPE | EMBRYOID | CELLTYPE | NANODROPFILE | DESCRIPTION |  | ReferenceDB
end |  |  |  |  | Genomic DNA |  |  | 1
end |  |  |  |  | Genomic DNA |  |  | 2
end |  |  |  |  | Genomic DNA |  |  | 3
end |  |  |  |  | Genomic DNA |  |  | 4
end |  |  |  |  | Genomic DNA |  |  | 5
end |  |  |  |  | Genomic DNA |  |  | 6
end |  |  |  |  | Genomic DNA |  |  | 7
end |  |  |  |  | Genomic DNA |  |  | 8
end |  |  |  |  | Genomic DNA |  |  | 9
end |  |  |  |  | Genomic DNA |  |  | 10
end |  |  |  |  | Genomic DNA |  |  | 11
end |  |  |  |  | Genomic DNA |  |  | 12
end |  |  |  |  | Genomic DNA |  |  | 13
end |  |  |  |  | Genomic DNA |  |  | 14
end |  |  |  |  | Genomic DNA |  |  | 15
end |  |  |  |  | Genomic DNA |  |  | 16
end |  |  |  |  | Genomic DNA |  |  | 17
end |  |  |  |  | Genomic DNA |  |  | 18
end |  |  |  |  | Genomic DNA |  |  | 19
end |  |  |  |  | Genomic DNA |  |  | 20
end |  |  |  |  | Genomic DNA |  |  | 21
end |  |  |  |  | Genomic DNA |  |  | 22
end |  |  |  |  | Genomic DNA |  |  | 23
end |  |  |  |  | Genomic DNA |  |  | 24
end |  |  |  |  | Genomic DNA |  |  | 25
end |  |  |  |  | Genomic DNA |  |  | 26
end |  |  |  |  | Genomic DNA |  |  | 27
end |  |  |  |  | Genomic DNA |  |  | 28
end |  |  |  |  | Genomic DNA |  |  | 29
end |  |  |  |  | Genomic DNA |  |  | 30
end |  |  |  |  | Genomic DNA |  |  | 31
end |  |  |  |  | Genomic DNA |  |  | 32
end |  |  |  |  | Genomic DNA |  |  | 33
end |  |  |  |  | Genomic DNA |  |  | 34
end |  |  |  |  | Genomic DNA |  |  | 35
end |  |  |  |  | Genomic DNA |  |  | 36
end |  |  |  |  | Genomic DNA |  |  | 37
end |  |  |  |  | Genomic DNA |  |  | 38
end |  |  |  |  | Genomic DNA |  |  | 39
end |  |  |  |  | Genomic DNA |  |  | 40
end |  |  |  |  | Genomic DNA |  |  | 41
end |  |  |  |  | Genomic DNA |  |  | 42
end |  |  |  |  | Genomic DNA |  |  | 43
end |  |  |  |  | Genomic DNA |  |  | 44
end |  |  |  |  | Genomic DNA |  |  | 45
end |  |  |  |  | Genomic DNA |  |  | 46
end |  |  |  |  | Genomic DNA |  |  | 47
end |  |  |  |  | Genomic DNA |  |  | 48
end |  |  |  |  | Genomic DNA |  |  | 49
end |  |  |  |  | Genomic DNA |  |  | 50
end |  |  |  |  | Genomic DNA |  |  | 51
end |  |  |  |  | Genomic DNA |  |  | 52
end |  |  |  |  | Genomic DNA |  |  | 53
end |  |  |  |  | Genomic DNA |  |  | 54
end |  |  |  |  | Genomic DNA |  |  | 55
end |  |  |  |  | Genomic DNA |  |  | 56
end |  |  |  |  | Genomic DNA |  |  | 57
end |  |  |  |  | Genomic DNA |  |  | 58
end |  |  |  |  | Genomic DNA |  |  | 59
end |  |  |  |  | Genomic DNA |  |  | 60
end |  |  |  |  | Genomic DNA |  |  | 61
end |  |  |  |  | Genomic DNA |  |  | 62
end |  |  |  |  | Genomic DNA |  |  | 63
end |  |  |  |  | Genomic DNA |  |  | 64
end |  |  |  |  | Genomic DNA |  |  | 65
end |  |  |  |  | Genomic DNA |  |  | 66
end |  |  |  |  | Genomic DNA |  |  | 67
end |  |  |  |  | Genomic DNA |  |  | 68
end |  |  |  |  | Genomic DNA |  |  | 69
end |  |  |  |  | Genomic DNA |  |  | 70
end |  |  |  |  | Genomic DNA |  |  | 71
end |  |  |  |  | Genomic DNA |  |  | 72
end |  |  |  |  | Genomic DNA |  |  | 73
end |  |  |  |  | Genomic DNA |  |  | 74
end |  |  |  |  | Genomic DNA |  |  | 75
end |  |  |  |  | Genomic DNA |  |  | 76
end |  |  |  |  | Genomic DNA |  |  | 77
end |  |  |  |  | Genomic DNA |  |  | 78
end |  |  |  |  | Genomic DNA |  |  | 79
end |  |  |  |  | Genomic DNA |  |  | 80
end |  |  |  |  | Genomic DNA |  |  | 81
end |  |  |  |  | Genomic DNA |  |  | 82
end |  |  |  |  | Genomic DNA |  |  | 83
end |  |  |  |  | Genomic DNA |  |  | 84
end |  |  |  |  | Genomic DNA |  |  | 85
end |  |  |  |  | Genomic DNA |  |  | 86
end |  |  |  |  | Genomic DNA |  |  | 87
end |  |  |  |  | Genomic DNA |  |  | 88
end |  |  |  |  | Genomic DNA |  |  | 89
end |  |  |  |  | Genomic DNA |  |  | 90
end |  |  |  |  | Genomic DNA |  |  | 91
end |  |  |  |  | Genomic DNA |  |  | 92
end |  |  |  |  | Genomic DNA |  |  | 93
end |  |  |  |  | Genomic DNA |  |  | 94
end |  |  |  |  | Genomic DNA |  |  | 95
end |  |  |  |  | Genomic DNA |  |  | 96
end |  |  |  |  | Genomic DNA |  |  | 97
end |  |  |  |  | Genomic DNA |  |  | 98
end |  |  |  |  | Genomic DNA |  |  | 99
end |  |  |  |  | Genomic DNA |  |  | 100
end |  |  |  |  | Genomic DNA |  |  | 101
end |  |  |  |  | Genomic DNA |  |  | 102
end |  |  |  |  | Genomic DNA |  |  | 103
end |  |  |  |  | Genomic DNA |  |  | 104
end |  |  |  |  | Genomic DNA |  |  | 105
end |  |  |  |  | Genomic DNA |  |  | 106
end |  |  |  |  | Genomic DNA |  |  | 107
end |  |  |  |  | Genomic DNA |  |  | 108
end |  |  |  |  | Genomic DNA |  |  | 109
end |  |  |  |  | Genomic DNA |  |  | 110
end |  |  |  |  | Genomic DNA |  |  | 111
end |  |  |  |  | Genomic DNA |  |  | 112
end |  |  |  |  | Genomic DNA |  |  | 113
end |  |  |  |  | Genomic DNA |  |  | 114
end |  |  |  |  | Genomic DNA |  |  | 115
end |  |  |  |  | Genomic DNA |  |  | 116
end |  |  |  |  | Genomic DNA |  |  | 117
end |  |  |  |  | Genomic DNA |  |  | 118
end |  |  |  |  | Genomic DNA |  |  | 119

## create SAMPLE BATCH (hidden)
Following reference DB creation, enter names of reference DBs in column B, e.g. LOT002B_20110317_Reference.db
Single channel Reference DBs
Lot # | reference DB name

## Sample batch (hidden)
DIRECTORY: | [9 empty] | ONLY COPY THE AREA CONTAINING TEXT FIELDS,
ANNOTATION: | [9 empty] | DO NOT COPY EMPTY LINES, THIS WILL CAUSE BATCH IMPORT TO FAIL
CYCLEID | SAMPLEFILE | BARCODE | EXPTYPE | EMBRYOID | SAMPLECH | REFERENCEDB | CELLTYPE | NANODROPFILE | DESCRIPTION

## Batch Import File
DIRECTORY: | [9 empty] | ONLY COPY THE AREA CONTAINING TEXT FIELDS,
ANNOTATION: | [9 empty] | DO NOT COPY EMPTY LINES, THIS WILL CAUSE BATCH IMPORT TO FAIL
CYCLEID | SAMPLEFILE | BARCODE | EXPTYPE | EMBRYOID | SAMPLECH | REFERENCEDB | CELLTYPE | NANODROPFILE | DESCRIPTION